Declaration of Covenants for the

Operation & Maintenance of

Stormwater Facilities

For

[Business Name]

(Indirect Grantee:  City of Medford)

Declaration of covenants affecting the real property(ies) described in Exhibit “A” (legal description) or by Instrument Number: [                             ] , also known as: [Map+TL]  (Map & Tax Lot), with a site address of: [Stormwater Facility Address] , Jackson County, Oregon (hereinafter referred to as the “property”),  for the express purpose of causing the owners of said property to have knowledge of, and be subject to performing the operation and maintenance of the stormwater facility located on the property:

NOW THEREFORE, the undersigned, [Property owner(s)], owners of said property, do hereby declare that they, their heirs, successors and assigns, will manage, operate, and maintain the stormwater facility including any catch basins, piping, and treatment and detention facilities described as ____________________________________________________________________

___________________________________________________________________   (hereinafter collectively referred to as “Facility”), as prescribed below:

- This Covenant shall remain in full force and effect unless canceled or modified with the written consent of the City and the property owner/owners.

- The property owner/owners shall keep a copy of the Stormwater Facilities Operation and Maintenance Manual, dated [                      ], available on the premises, hereafter referred to as O&M Manual. These documents shall be made available to City staff upon request.

- The property owner/owners agree to contact the City with updated names, addresses, and phone numbers for owner(s), responsible parties should the information on the Contact Form, Section A, change.

- The property owner/owners or their designees shall inspect and maintain the approved Facility, and easements associated with the Facility, in accordance with the approved Inspection and Maintenance Worksheets within the O&M Manual to ensure it is functioning properly.

- Modifications of physical features within the stormwater facility shall not be made by property owner/owners without receiving prior written authorization from the City.

- The property owner/owners shall keep records of Facility system inspections and Maintenance for five years from the date of inspection. Records shall note inspection dates, any conditions requiring maintenance actions, and maintenance conducted. Records shall be made available to City staff upon request at no cost to the City.

- City staff shall have the right to enter upon publicly accessible property, without advanced notice, for the purpose of inspecting, and reasonably monitoring performance of the stormwater facilities using the maintenance access routes specified in the O&M Manual.

- If not publicly accessible, owner hereby provides City and City designee complete and continuous access to the Stormwater Facility and its immediate vicinity at any time, upon twenty-four (24) hours advance notice.  This notice will be for any duration for the purpose of inspection, sampling, and testing the Stormwater Facility.  City will make every effort to minimize the interference with the Owner’s operations and use of said property and/or Stormwater Facility.

- If the City determines that the system is not functioning properly, Owner will either take corrective actions within 14 calendar days or will submit a plan of action. The City shall review the plan of action and approve or reject it within 14 days of submittal, unless other arrangements are made with the City.

- Failure to correct a defective condition or obtain an approved response plan within the time frame specified in paragraph nine, or continued non-compliance with practices and procedures specified in this O&M Manual, may result in a violation per Section 4.745 of the Medford Municipal Code.

- Stormwater facilities as well as the adjacent right-of-way, easements, and/or private property upon which they reside are subject to all nuisance provisions of Medford Municipal Code, including control of noxious weeds, vegetation and removal of litter and debris, except as they relate to the approved vegetation within the water quality portion of the stormwater facility.

- If a complaint is received or an inspection reveals that a stormwater facility is infested with mosquitoes or other vectors, the property owner/owners or their designee shall contact Vector Control to eliminate the infestation. Owners may also employ one of the following to help mitigate mosquito infestations:

a) Installation of predacious bird or bat nesting boxes.

b) Alterations of pond water levels approximately every four days in order to disrupt mosquito larval development cycles.

If corrective action has not taken place within 15 days, the City will take corrective action      and charge the costs to the subject property owner.

- If all, or any part, of the Facility is located within a Public Utility Easement (PUE.), the property owner/owners shall bear all responsibility and cost to remove and replace any portion or affected portion of the Facility located within any PUE located on the subject property at such time when the benefitting agency deems it necessary for access, maintenance and/or other activities as permitted by the PUE.

- If the O&M Manual is not available, contact the Public Works Department at the City of Medford for the current requirements for maintaining the stormwater facilities.

The above covenants shall run with the land, be enforceable by the City of Medford, and shall be binding upon the property owner/owners, their heirs, successors, and assigns.

THE FOREGOING IS HEREBY ACCEPTED BY THE CITY OF MEDFORD,

By: ____________________________________         Date:  ________________________, 20___.

IN WITNESS WHEREOF, the property owner(s), signed this _____ day of ____________, 20___.

________________________________________

(Owners Signature)

________________________________________

(Owners Signature)

STATE OF OREGON	)

) ss:

County of Jackson		)

___________________, 20___

Personally appeared, the above-named ________________________________________________, and acknowledged the foregoing instrument to be a voluntary act. Before me:

________________________________________

Notary Public for Oregon

My Commission expires: ___________________

Exhibit “A”

Property Legal Description with Map